## BOM
Part Code | Description
5060S0210208 | Automatic Regulatory Apparatus for IT Systems, SR-210
5060S0210210 | Automatic, Regulatory Apparatus, for IT Systems, SR-210 RC 2
5060S0210206 | Automatic, Regulatory Apparatus, for IT Systems, SR-210 RC 2 U10-2N
5060S0220201 | Automatic Regulatory Apparatus for IT Systems, SR-220
5060S0220200 | Automatic Regulatory Apparatus for IT Systems, SR-220 U20-2N
5060S0220203 | Automatic, Regulatory Apparatus, for IT Systems, SR-220 RC 2
5060S0220202 | Automatic, Regulatory Apparatus, for IT Systems, SR-220 RC 2 U20-2N
5060S0235401 | Automatic Regulatory Apparatus for IT Systems, SR-235
5060S0235400 | Automatic, Regulatory Apparatus, for IT Systems, SR-235 U40-2N
5060S0235200 | Automatic, Regulatory Apparatus, for IT Systems, SR-235 RC 2
5060S0235402 | Automatic, Regulatory Apparatus, for IT Systems, SR-235 RC 2 U40-2N
5060S0310201 | Automatic Regulatory Apparatus for IT Systems, SR-310
5060S0310200 | Automatic Regulatory Apparatus for IT Systems, SR-310 U10-2N
5060S0310203 | Automatic, Regulatory Apparatus, for IT Systems, SR-310 RC 2
5060S0310202 | Automatic, Regulatory Apparatus, for IT Systems, SR-310 RC 2 U10-2N
5060S3200200 | Automatic Regulatory Apparatus for IT Systems, SR-320
5060S0320203 | Automatic Regulatory Apparatus for IT Systems, SR-320 U20-2N
5060S0320202 | Automatic, Regulatory Apparatus, for IT Systems, SR-320 RC 2
5060S0320204 | Automatic, Regulatory Apparatus, for IT Systems, SR-320 RC 2 U20-2N
5060S0335401 | Automatic Regulatory Apparatus for IT Systems, SR335
5060S0335400 | Automatic, Regulatory Apparatus, for IT Systems, SR-335 U40-2N
5060S0335403 | Automatic, Regulatory Apparatus, for IT Systems, SR335 RC2
5060S0335402 | Automatic, Regulatory Apparatus, for IT Systems, SR-335 RC 2 U40-2N
5060S0420201 | Automatic Regulatory Apparatus for IT Systems, SR420
5060S0420200 | Automatic Regulatory Apparatus for IT Systems, SR-420 U20-2N
5060S0420203 | Automatic, Regulatory Apparatus, for IT Systems, SR-420 RC 2
5060S0420202 | Automatic, Regulatory Apparatus, for IT Systems, SR-420 RC 2 U20-2N
5060S0435400 | Automatic Regulatory Apparatus for IT Systems, SR435
5060S0435402 | Automatic, Regulatory Apparatus, for IT Systems, SR-435 U40-2N
5060S0435401 | Automatic, Regulatory Apparatus, for IT Systems, SR-435 RC 2
5060S0435403 | Automatic, Regulatory Apparatus, for IT Systems, SR-435 RC 2 U40-2N
5060S0470403 | Automatic, Regulatory Apparatus, for IT Systems, SR-470 RC 3
5060S0520203 | Automatic Regulatory Apparatus for IT Systems, SR520
5060S0520202 | Automatic Regulatory Apparatus for IT Systems, SR-520 U20-2N
5060S0520205 | Automatic, Regulatory Apparatus, for IT Systems, SR-520 RC 2
5060S0520204 | Automatic, Regulatory Apparatus, for IT Systems, SR-520 RC 2 U20-2N
5060S0535201 | Automatic Regulatory Apparatus for IT Systems, SR-535
5060S0535200 | Automatic Regulatory Apparatus for IT Systems, SR-535 U40-2N
5060S0535203 | Automatic, Regulatory Apparatus, for IT Systems, SR-535 RC 2
5060S0535202 | Automatic, Regulatory Apparatus, for IT Systems, SR-535 RC 2 U40-2N
5060S0570403 | Automatic, Regulatory Apparatus, for IT Systems, SR-570 RC 3
5060S0635202 | Automatic Regulatory Apparatus for IT Systems, SR-635
5060S0635201 | Automatic Regulatory Apparatus for IT Systems, SR-635 U40-2N
5060S0635203 | Automatic, Regulatory Apparatus, for IT Systems, SR-635 RC 2
5060S0635400 | Automatic, Regulatory Apparatus, for IT Systems, SR-635 RC 2 U40-2N
5060S0640403 | Automatic, Regulatory Apparatus, for IT Systems, SR-640 RC 3
5060S0640402 | Automatic, Regulatory Apparatus, for IT Systems, SR-640 RC 3 U40-2N
5060S0670403 | Automatic, Regulatory Apparatus, for IT Systems, SR-670 RC 3
5060S0735201 | Automatic Regulatory Apparatus for IT Systems, SR-735
5060S0735200 | Automatic Regulatory Apparatus for IT Systems, SR-735 U40-2N
5060S0735203 | Automatic, Regulatory Apparatus, for IT Systems, SR-735 RC 2
5060S0735202 | Automatic, Regulatory Apparatus, for IT Systems, SR-735 RC 2 U40-2N
5060S0740403 | Automatic, Regulatory Apparatus, for IT Systems, SR-740 RC 3
5060S0740402 | Automatic, Regulatory Apparatus, for IT Systems, SR-740 RC 3 U40-2N
5060S0770403 | Automatic, Regulatory Apparatus, for IT Systems, SR-770 RC 3
5060S0840403 | Automatic, Regulatory Apparatus, for IT Systems, SR-840 RC 3
5060S0840402 | Automatic, Regulatory Apparatus, for IT Systems, SR-840 RC3 U40-2N
5060S0870403 | Automatic, Regulatory Apparatus, for IT Systems, SR-870 RC 3
5060S1040403 | Automatic, Regulatory Apparatus, for IT Systems, SR-1040 RC3 U40-2N
5060S1040402 | Automatic, Regulatory Apparatus, for IT Systems, SR-1040 RC3 U40-2N
5060S1070403 | Automatic, Regulatory Apparatus, for IT Systems, SR-1070 RC 3
5060S0935403 | Automatic, Regulatory Apparatus, for IT Systems, SR-9-35 RC4
5060S1335403 | Automatic, Regulatory Apparatus, for IT Systems, SR-13-35 RC5
5060S1435403 | Automatic, Regulatory Apparatus, for IT Systems, SR-14-35 RC5

## 5060S0210210
Item | Description | Quantity | LP
850000100000 | CRV, 10 kW , with Digital Scroll, with Indoor and Outdoor, Anti Corrosive Unit | 1 | 583783.1071
325721000000 | Smart Subassembly, UPS ITA2, 1 X 1/3 X 1, 10 kVA x 2 with Communication Card | 1 | 204053
325721000001 | Subassembly, RDU and Monitoring, of SR-210/SR-220/SR-235 (RC and Non-RC) | 1 | 140833
325703000017 | Subassembly, CRV4 35 & 45kW Containment Frame (700W x (400+1000+400)D) & Utility of RC2 model for SmartRow | 1 | 386203
325723000000 | Subassembly, Rack Accessories, of SR-210 RC 2/SR-220 RC 2/SR235 RC 2 | 1 | 6683.6
325705000003 | Kit, Fire Fighting System, for SR210 and SR210 RC | 1 | 557840.8
325707000003 | 19 inch, 42U, 600 W x 1800 D, Rack Containment Frame, with Both Side, Glass Door, Front Frame, Rear Frame and Base Frame and, Server Rack with Accessories (With boughtout accessories). | 1 | 114961
325707000005 | 19 inch, 42U, 800 W x 1800 D, Rack Containment Frame, with Both Side, Glass Door, Front Frame, Rear Frame and Base Frame and, Server Rack with Accessories (With boughtout accessories). | 1 | 122061.346
125004000018 | Vertical Socket strip with 12 nos of IEC C13 Sockets & 4 nos of IEC C19 Socket with 2.5 mtr power chord with 32A MCB. for HD rack | 4 | 5253.6
125004000037 | 6/16 Socket Strip 12 Sockets, with Indicators, with 2.5 m Power Cord, with 32A MCB | 4 | 6279
125300000126 | Liebert MPH-I Rack PDU, 1 Ph, 230V, 32A, 18 x C13, 6 x C19, Aggregate Metering | 4 | 64767
492100639040 | Network Power Switch, Local, 1 X 1, 6 kVA, 1 Phase, 230 V, 2 Pole | 1 | 42702
325705000033 | Rodent Repellent Standalone for Smart Cabinet | 3 | 13050
325715000000 | 1 Camera with 16 GB SD Card | 1 | 11220
325715000001 | 4 Channel DVR, with 1 CCTV (500 GB Hard Disc) | 1 | 31640.4
325715000002 | 4 Channel DVR, with 2 CCTV (500 GB Hard Disc) | 1 | 37620
325715000003 | 4 Channel DVR, with 4 CCTV (1 TB Hard Disc) | 1 | 97608
170893010359 | Panel, Blanking, 1U, Tool Less, Universal | 1 | 240
340101070019 | Fixed Shelf, CRCA, for 19 inch, 42U, 600 W/800 W, Server Rack, SmartRow | 1 | 2562
325705000104 | Kit, Fire Fighting System, VESDA - VLF-250 System, for SmartRow | 1 | 0
WRSTND01 | Warranty Standard - 12 Months | 1 | 0
325724210201 | Manufactured Product, BOM of, SR-210 RC 2 | 1 | 1581664
325720000000 | Subassembly, Electrical Accessories, SR-210 (RC & Non-RC) | 1 | 75131.8
325705000118 | Kit, Fire Fighting System and Access Control (Front and Rear Door), for SR210RC | 1 | 646775
325701000013 | Kit, DB Panel, SR-720, SR-620, SR-520, SR-420,SR-320, SR-510, SR-410, SR-310, SR-210 (RC & Non-RC) | 1 | 84603.2
325720000001 | Subassembly, DB panel 1, DB panel 2 for SR-720, SR-620, SR-520, SR-420,SR-320, SR-510, SR-410, SR-310, SR-210 (RC & Non-RC) with Acrylic Cover Protection for MCB's | 1 | 161020.2
325705000165 | Kit, Fire and Access, for SmartRow SR 210 RC, Customize Location, of Utility Cabinet, 10 m away from SmartRow | 1 | 753887.5
325705000073 | Kit, Biometric Access Control System, for SmartRow | 1 | 103510
325720000068 | Subassembly, BOM, Electrical Accessories, SR-210 (RC & Non-RC), Dual Power Source, 10 m Away | 1 | 103599.8
325703000022 | Subassembly, Rack Containment Frame, Network Rack, 19 inch, 42U, 800 W X 1800 D(400+1000+400D), with Packaging | 1 | 192678
402001000474 | 18.5 LCD, USB KB, 2USB PASS, 16P-US INTL | 1 | 167960
34000260305 | Battery, Valve Regulated Lead Acid (AGM), Block, 26 Ah, 12 Vdc, Amararaja Quanta, Type - 12AL026, with 3 Years Warranty | 1 | 3982
271921002600 | Kit, Battery Cable Links, for 26 Ah, 34 Blocks | 1 | 1709.4
280300635110 | Circuit Breaker, Miniature, 63 Amp, DC, 250 Vdc, 1 Pole | 1 | 522
84607000001 | Din Rail, Aluminium, S.D.R.35 mm | 1 | 94.08
42200601190 | Cable, NYVIN, 1 Core, Size 10, White, 660 / 1100 V Grade | 1 | 159
2351786 | Subassembly,UH52SA1Z6,UF-RS485 communication card subassembly of 232 Transfer to 485 Signal for ITA UPS(Without assembly) | 1 | 2200
930102358960 | Adjustable Rail Kit, for 6/10/20 kVA Liebert ITA2 UPS | 1 | 3887
32402602400 | Rack, Mild Steel, Structure, Battery, 26 / 24 Ah, 12 Vdc, Battery with 24 Blocks, G & Y / Amararaja / Leoch and Exide Make Battery | 1 | 5400
271921002617 | Kit, Battery Cable Links, for 24 / 26 Ah, 24 Blocks, G & Y / AmaraRaja / Leoch / Exide Make Battery | 1 | 2000
124300630001 | Battery Breaker Cabinet, with 63A 2pole MCB X 1, for 6/10KVA | 1 | 6500
536600103001 | Liebert ITA 2, 10 kVA UPS System, 1Ph-3Ph Input/1Ph Output, LB | 1 | 105500
850000100004 | CRV, 10 kW , with Digital Scroll, with Indoor and Outdoor, Anti Corrosive Unit, with SFA | 1 | 1079603
325703000029 | Subassembly, Rack Containment Frame, Network Rack, 19 inch, 42U, 800 W X 1800(300+1200+300) D with Packaging | 1 | 158475
325703000035 | Subassembly, CRV4 35 & 45kW Containment Frame (700W x (300+1200+300)D) & Utility of RC2 model for SmartRow | 1 | 307150
125004000054 | Vertical Socket Strip, with 20 nos of IEC C13 Sockets and 4 nos of IEC C19 Socket, with 2.5 mtr Power Chord, with 32A MCB RAL 9005 | 1 | 9074
325723000050 | Subassembly, BOM, Electrical Accessories, SR-210 (RC & Non-RC), Without UPS | 1 | 68884
325721000028 | Subassembly, for 16A LTS with Suitable Accessories and SNMP SIC Card | 1 | 30389
33010469 | IRM-S01DN-B, Door status sensor-black-normal close-RJ45-500mA/40~70mm--10~51℃ | 1 | 1590
40992503102 | Cable, PVC, Copper, 3 Core, 2.5 Sq. mm, 660 / 1100 V Grade, FRLS, Flexible | 1 | 115
325723000002 | Subassembly, Rack Accessories, of SR-210/SR-220/SR-235 | 1 | 5570.4
325701000065 | Kit, VESDA of SmartRow-SR-210 / SR-210-RC | 1 | 408500
402001000473 | 18.5 LCD, USB KB, 2USB PASS, 8P-US INTL | 1 | 134640
125004000061 | Horizontal Socket Strip, with 6 nos of 6/13 A Universal Sockets and with 32 Amp MCB and Industrial Plug | 1 | 7794
402001000828 | Vertiv GU 1.5 RPDU, Monitored Outlet Level EC, 32A, 230V, 7.3kW, Vertical, (18) Locking IEC C13, (6) Locking IEC C19, 10ft / 3m power cord with 2P+E (IP44), Black Powder Coat | 1 | 107342.4
5050SR0M0000 | Main Option Class, Automatic Regulatory Apparatus for IT Systems, Smart Row | 1 | 0

## 5060S0210208
Item | Description | Quantity | LP
850000100000 | CRV, 10 kW , with Digital Scroll, with Indoor and Outdoor, Anti Corrosive Unit | 1 | 583783.1071
325720000000 | Subassembly, Electrical Accessories, SR-210 (RC & Non-RC) | 1 | 75131.8
325721000001 | Subassembly, RDU and Monitoring, of SR-210/SR-220/SR-235 (RC and Non-RC) | 1 | 140833
325703000018 | Kit, Containment Frame, (CRV and Utility), of Non-RC Model, for SmartRow | 1 | 194678
325712000004 | 2200 H x 625 W x 1000 D, Utility Cabinet, for Fire Fighting Items, and Electrical DB Panel. | 1 | 63993.6
325723000002 | Subassembly, Rack Accessories, of SR-210/SR-220/SR-235 | 1 | 5570.4
325705000003 | Kit, Fire Fighting System, for SR210 and SR210 RC | 1 | 557840.8
325703000000 | Assembly, Exhaust Fan with Gravity Damper, for Smart Row | 2 | 15411
325707000003 | 19 inch, 42U, 600 W x 1800 D, Rack Containment Frame, with Both Side, Glass Door, Front Frame, Rear Frame and Base Frame and, Server Rack with Accessories (With boughtout accessories). | 1 | 114961
325707000005 | 19 inch, 42U, 800 W x 1800 D, Rack Containment Frame, with Both Side, Glass Door, Front Frame, Rear Frame and Base Frame and, Server Rack with Accessories (With boughtout accessories). | 1 | 122061.346
125004000018 | Vertical Socket strip with 12 nos of IEC C13 Sockets & 4 nos of IEC C19 Socket with 2.5 mtr power chord with 32A MCB. for HD rack | 4 | 5253.6
125004000037 | 6/16 Socket Strip 12 Sockets, with Indicators, with 2.5 m Power Cord, with 32A MCB | 4 | 6279
125300000126 | Liebert MPH-I Rack PDU, 1 Ph, 230V, 32A, 18 x C13, 6 x C19, Aggregate Metering | 4 | 64767
492100639040 | Network Power Switch, Local, 1 X 1, 6 kVA, 1 Phase, 230 V, 2 Pole | 1 | 42702
325705000033 | Rodent Repellent Standalone for Smart Cabinet | 3 | 13050
325715000000 | 1 Camera with 16 GB SD Card | 1 | 11220
325715000001 | 4 Channel DVR, with 1 CCTV (500 GB Hard Disc) | 1 | 31640.4
325715000002 | 4 Channel DVR, with 2 CCTV (500 GB Hard Disc) | 1 | 37620
325715000003 | 4 Channel DVR, with 4 CCTV (1 TB Hard Disc) | 1 | 97608
170893010359 | Panel, Blanking, 1U, Tool Less, Universal | 1 | 240
340101070019 | Fixed Shelf, CRCA, for 19 inch, 42U, 600 W/800 W, Server Rack, SmartRow | 1 | 2562
325705000104 | Kit, Fire Fighting System, VESDA - VLF-250 System, for SmartRow | 1 | 0
WRSTND01 | Warranty Standard - 12 Months | 1 | 0
325724210200 | Manufactured Product, BOM of, SR-210 | 1 | 956107
325705000118 | Kit, Fire Fighting System and Access Control (Front and Rear Door), for SR210RC | 1 | 646775
325701000013 | Kit, DB Panel, SR-720, SR-620, SR-520, SR-420,SR-320, SR-510, SR-410, SR-310, SR-210 (RC & Non-RC) | 1 | 84603.2
325720000001 | Subassembly, DB panel 1, DB panel 2 for SR-720, SR-620, SR-520, SR-420,SR-320, SR-510, SR-410, SR-310, SR-210 (RC & Non-RC) with Acrylic Cover Protection for MCB's | 1 | 161020.2
325705000165 | Kit, Fire and Access, for SmartRow SR 210 RC, Customize Location, of Utility Cabinet, 10 m away from SmartRow | 1 | 753887.5
325705000073 | Kit, Biometric Access Control System, for SmartRow | 1 | 103510
325720000068 | Subassembly, BOM, Electrical Accessories, SR-210 (RC & Non-RC), Dual Power Source, 10 m Away | 1 | 103599.8
5050SR0M0000 | Main Option Class, Automatic Regulatory Apparatus for IT Systems, Smart Row | 1 | 0

## 5060S0210206
Item | Description | Quantity | LP
850000100000 | CRV, 10 kW , with Digital Scroll, with Indoor and Outdoor, Anti Corrosive Unit | 2 | 583783.1071
325721000000 | Smart Subassembly, UPS ITA2, 1 X 1/3 X 1, 10 kVA x 2 with Communication Card | 1 | 204053
325720000000 | Subassembly, Electrical Accessories, SR-210 (RC & Non-RC) | 1 | 75131.8
325721000001 | Subassembly, RDU and Monitoring, of SR-210/SR-220/SR-235 (RC and Non-RC) | 1 | 140833
325703000017 | Subassembly, CRV4 35 & 45kW Containment Frame (700W x (400+1000+400)D) & Utility of RC2 model for SmartRow | 1 | 386203
325723000000 | Subassembly, Rack Accessories, of SR-210 RC 2/SR-220 RC 2/SR235 RC 2 | 1 | 6683.6
681000071600 | 2U, 19’’ Rack mount cabinet for 7 Ah,16 Block with MCB & Interlinking | 4 | 34540
325722000000 | Subassembly, Battery Bank Kit for Combined 30 min Backup with External Battery, for 10 kVA x 2 UPS | 1 | 233919.4
325722000001 | Subassembly, Battery Bank Kit for Combined 60 min Backup with External Battery, for 10 kVA x 2 UPS | 1 | 334400
325707000003 | 19 inch, 42U, 600 W x 1800 D, Rack Containment Frame, with Both Side, Glass Door, Front Frame, Rear Frame and Base Frame and, Server Rack with Accessories (With boughtout accessories). | 1 | 114961
325707000005 | 19 inch, 42U, 800 W x 1800 D, Rack Containment Frame, with Both Side, Glass Door, Front Frame, Rear Frame and Base Frame and, Server Rack with Accessories (With boughtout accessories). | 1 | 122061.346
125004000018 | Vertical Socket strip with 12 nos of IEC C13 Sockets & 4 nos of IEC C19 Socket with 2.5 mtr power chord with 32A MCB. for HD rack | 4 | 5253.6
125004000037 | 6/16 Socket Strip 12 Sockets, with Indicators, with 2.5 m Power Cord, with 32A MCB | 4 | 6279
125300000126 | Liebert MPH-I Rack PDU, 1 Ph, 230V, 32A, 18 x C13, 6 x C19, Aggregate Metering | 4 | 64767
492100639040 | Network Power Switch, Local, 1 X 1, 6 kVA, 1 Phase, 230 V, 2 Pole | 1 | 42702
325705000033 | Rodent Repellent Standalone for Smart Cabinet | 3 | 13050
325715000000 | 1 Camera with 16 GB SD Card | 1 | 11220
325715000001 | 4 Channel DVR, with 1 CCTV (500 GB Hard Disc) | 1 | 31640.4
325715000002 | 4 Channel DVR, with 2 CCTV (500 GB Hard Disc) | 1 | 37620
325715000003 | 4 Channel DVR, with 4 CCTV (1 TB Hard Disc) | 1 | 97608
170893010359 | Panel, Blanking, 1U, Tool Less, Universal | 1 | 240
340101070019 | Fixed Shelf, CRCA, for 19 inch, 42U, 600 W/800 W, Server Rack, SmartRow | 1 | 2562
325705000104 | Kit, Fire Fighting System, VESDA - VLF-250 System, for SmartRow | 1 | 0
325705000003 | Kit, Fire Fighting System, for SR210 and SR210 RC | 1 | 557840.8
325724210202 | Manufactured Product, BOM of, SR-210 RC 2 U10-2N | 1 | 1804486.33
325703000021 | Subassembly, Rack Containment Frame, Server Rack, 19 inch, 42U, 600 W X 1800D(400+1000+400D), with Packaging | 1 | 164078
325722000015 | Subassembly, Battery Bank Kit for combine 10 min Backup, 19'' Rack Mount Internal Battery 10 kVA x 2 UPS | 1 | 128249
WRSTND01 | Warranty Standard - 12 Months | 1 | 0
325705000118 | Kit, Fire Fighting System and Access Control (Front and Rear Door), for SR210RC | 1 | 646775
325701000013 | Kit, DB Panel, SR-720, SR-620, SR-520, SR-420,SR-320, SR-510, SR-410, SR-310, SR-210 (RC & Non-RC) | 1 | 84603.2
325720000001 | Subassembly, DB panel 1, DB panel 2 for SR-720, SR-620, SR-520, SR-420,SR-320, SR-510, SR-410, SR-310, SR-210 (RC & Non-RC) with Acrylic Cover Protection for MCB's | 1 | 161020.2
325705000165 | Kit, Fire and Access, for SmartRow SR 210 RC, Customize Location, of Utility Cabinet, 10 m away from SmartRow | 1 | 753887.5
325705000073 | Kit, Biometric Access Control System, for SmartRow | 1 | 103510
325720000068 | Subassembly, BOM, Electrical Accessories, SR-210 (RC & Non-RC), Dual Power Source, 10 m Away | 1 | 103599.8
850000100004 | CRV, 10 kW , with Digital Scroll, with Indoor and Outdoor, Anti Corrosive Unit, with SFA | 1 | 1079603
325707000087 | CRV Containment Frame, with Both Side, Plain Door, Front Frame, Rear Frame and Base Frame, with side panels on both sides (With boughtout accessories and SS hardwares), for export cases | 1 | 136228
325707000088 | CRV Containment Frame, with Both Side, Plain Door, Front Frame, Rear Frame and Base Frame, without side panels on both sides (With boughtout accessories and SS hardwares), for export cases | 1 | 99827
325712000027 | Utility Cabinet, for Fire Fighting Items, and DB Panel, 2150 H x 600 W x 1000 D, with SS hardwares, for export cases | 1 | 77994
325707000017 | CRV Containment, 7 Ply Corrugated Packing with Vacuuming | 1 | 10865.8
325712000008 | Utility Cabinet, 7 Ply Corrugated Packing with Vacuuming | 1 | 7418.4
325707000085 | Rack Containment Frame, Server Rack, 19 inch, 42U, 600 W X 1800 D with Front Glass Door and Rear PLAIN Split Door and EM lock on both Front & Rear Door, (with Boughtout Accessories and SS hardwares), for export cases | 1 | 135317
325707000086 | Rack Containment Frame, Network Rack, 42U, 19 inch, 800 W X 1800 D, with Front Glass Door and Rear Plain Split Door and EM lock on both Front & Rear Door, (with Boughtout Accessories and SS hardwares), for export cases | 1 | 156941
325707000018 | Export packing, 600W Rack Containment, 7 Ply Corrugated Packing with Vacuuming | 1 | 10692
325706000076 | Packing, Corrugated, with Vacuum, 7 Ply, 800 W Rack Containment | 1 | 11000
325702000043 | PDU, Vertical Mounting, 1 Phase, with 12 nos. IEC-C13 outlet & 4 nos. IEC C19 outlet, 1 Pole, 32A D curve MCB with safety guard, Power Indicator, 2.5mtr, 3 Core 6 sqmm FRLS Power Cord unterminated Colour: RAL 9005 Texture (Black) | 1 | 6141
325715000033 | 4 Channel, DVR with 2 CCTV, (1 TB Hard Disc), with Cable and Power Supply | 1 | 78057
200411300049 | Packing, Wooden, CRV, For Export | 1 | 14300
200402043000 | Packing Assembly, for HCR 43/51/59 Condenser, Export Packing | 1 | 23876.82
325706000049 | Assembly, Export Packing, for Loose Material, 40 x 30 x 27 | 1 | 23622
121663000047 | Assembly, Packing, Export, Battery Rack Bolted Assembly, 1670 W x 630 D x 1835 H, 5 Tier, 2032 X 865 X 712 mm | 1 | 23315.6
122310000075 | Display, Large, iCOM, 180632G9, for Air Conditioning Machine | 1 | 19399.6
122310000571 | Liquid Reciver 7,8 LT PED, PDX, 45BAR, 330145 | 1 | 70
170880002708 | Holder of Liquid Receiver, PDX, 124735, EH3000C87 | 1 | 0
122120000049 | Valve, Gas Control SAF 1/2 x 3/4 D10/CS 45 Ngi, 378394 | 1 | 19
274041010001 | Subassembly, BOM, with Receiver, CRV10/20 | 2 | 786
325723000004 | Subassembly, Rack Accessories, of SR-310/SR-320/SR-335 | 1 | 18285
354200030701 | Subassembly, UHRF3S67Z1, UHRF3S67Z, 30 kVA, Main Power Subassembly, for Rack-Mounted UPS, 02351750 | 1 | 178251
775110504801 | TVSS, 3 Phase, 50 kA, Powersure Q Rated, 320YC02AWRC2Q, 3 Phase, 440 V, 4 Wire TVSS with Relay Contact | 1 | 32370.8
124301500000 | Battery Circuit Breaker Enclosure, 120 / 150 / 200 kVA, 630 Amp MCCB 4P, suitable for 36 kA, 500 V DC for NXr UPS | 1 | 67456.4
400500500068 | IntelliSlot, Unity, Dual Protocol Communication Card | 1 | 16000
42201001190 | Cable, NYVIN, 1 Core, Size 8, White, 660 / 1100 V Grade | 1 | 124.0905
504215079000 | UPS Equipment, UHRF3S672Z, Mounted Standard High-Frequency Link, 3 X 3, 150 Kva, Intelligent UPS, APM 150, 01200534 | 1 | 936150
34000420342 | Battery, Valve Regulated Lead Acid (SMF), Block, 42Ah, 12 Vdc, AMARARAJA QUANTA-I, 12AL042, AGM, With 5 Years Warranty | 1 | 11000
32404002010 | Rack, Mild Steel, Structure, Battery, 40 Ah, 12 Vdc, 20 Blocks, ES40-12 | 1 | 14760
271921004221 | Kit, Battery Cable Links, for 40 / 42 Ah, 24 Blocks, G & Y / AmaraRaja / Leoch/ Panasonic / Exide Make Battery | 1 | 2600
124300630001 | Battery Breaker Cabinet, with 63A 2pole MCB X 1, for 6/10KVA | 1 | 6500
84607000001 | Din Rail, Aluminium, S.D.R.35 mm | 1 | 94.08
42200601190 | Cable, NYVIN, 1 Core, Size 10, White, 660 / 1100 V Grade | 1 | 159
325701000065 | Kit, VESDA of SmartRow-SR-210 / SR-210-RC | 1 | 408500
325703000022 | Subassembly, Rack Containment Frame, Network Rack, 19 inch, 42U, 800 W X 1800 D(400+1000+400D), with Packaging | 1 | 192678
271921004218 | Kit, Battery Cable Links, for 40 / 42 Ah, 18 Blocks, Nyvin '10' Rocket / AmaraRaja / Leoch / Panasonic / Exide Make Battery | 1 | 2600
280300633200 | Circuit Breaker, Miniature, 63 Amp, 125 / 250 Vdc, 2 Pole, C Curve, 10 kA, DIN Mounting | 1 | 2531
325703000029 | Subassembly, Rack Containment Frame, Network Rack, 19 inch, 42U, 800 W X 1800(300+1200+300) D with Packaging | 1 | 158475
325703000035 | Subassembly, CRV4 35 & 45kW Containment Frame (700W x (300+1200+300)D) & Utility of RC2 model for SmartRow | 1 | 307150
402001000938 | Vertiv GU1.5, Monitored, 7.3 KW, 32Amps, 36 C13, 6 C19, APAC - CP8853 | 1 | 48523
34000420321 | Battery, Valve Regulated Lead Acid (AGM), Block, 42 Ah, 12 Vdc, Amararaja Quanta, Type - 12AL042, with 3 Years Warranty | 1 | 10062
325723000002 | Subassembly, Rack Accessories, of SR-210/SR-220/SR-235 | 1 | 5570.4
325721000028 | Subassembly, for 16A LTS with Suitable Accessories and SNMP SIC Card | 1 | 30389
34000260335 | Battery, Valve Regulated Lead Acid (AGM), Block, 26 Ah, 12 Vdc, Amararaja Quanta, Type - 12AL026, with 5 Years Warranty | 1 | 6600
32402601800 | Rack, CRCA, Structure, Battery, 26 / 24 Ah, 12 Vdc, Battery with 18 Blocks, G & Y / Amararaja / Leoch and Exide Make Battery | 1 | 4500
271921002614 | Kit, Battery Cable Links, for 24 / 26 Ah, 18 Blocks, Nyvin'10', G & Y / AmaraRaja / Leoch/ Exide Make Battery | 1 | 2000
325721000056 | Subassembly, UPS O/P Distribution for SC1 | 1 | 8500
5050SR0M0000 | Main Option Class, Automatic Regulatory Apparatus for IT Systems, Smart Row | 1 | 0